## WWn4
WWn4 - Wholesale wastewater sewage treatment (potential explanatory variables) | [28 empty] | Wessex Water | Data validation |  |  |  | Item references | [27 empty] | WWn4
[5 empty] | Treatment categories | [7 empty] | Treatment works consents | [24 empty] | Treatment categories | [7 empty] | Treatment works consents
[5 empty] | Primary | Secondary |  | Tertiary |  |  |  | Total | Phosphorus |  |  |  |  | BOD5 | [5 empty] | Ammonia | [5 empty] | Calculation, copy or download rule | Validation description | Completion | Validations |  |  |  |  | Primary | Secondary |  | Tertiary |  |  |  | Total | Phosphorus |  |  |  |  | BOD5 | [5 empty] | Ammonia | [5 empty] | Completion checks | [21 empty] | Validation checks
Line description |  | Item references | Unit | DPs |  | Activated Sludge | Biological | A1 | A2 | B1 | B2 |  | <=0.5mg/l | >0.5 to <=1mg/l | >1mg/l | No permit | Total | <=7mg/l | >7 to <=10mg/l | >10 to <=20mg/l | >20mg/l | No permit | Total | <=1mg/l | >1 to <=3mg/l | >3 to <=10mg/l | >10mg/l | No permit | Total |  |  |  |  | Line description |  | Unit | DPs |  | Activated Sludge | Biological | A1 | A2 | B1 | B2 |  | <=0.5mg/l | >0.5 to <=1mg/l | >1mg/l | No permit | Total | <=7mg/l | >7 to <=10mg/l | >10 to <=20mg/l | >20mg/l | No permit | Total | <=1mg/l | >1 to <=3mg/l | >3 to <=10mg/l | >10mg/l | No permit | Total | Please complete all cells in row
A | Load received at sewage treatment works in 2024-25 | [32 empty] | A | Load received at sewage treatment works in 2024-25
1 | Load received by STWs in size band 1 | See item | kg BOD5/day | 0 | 13.362 | 94.8011 | 362.4755 | 57.9706 | 17.6343 | 86.9005 | 12.9627 | 646.1067 | 0 | 0 | 0 | 646.1067 | 646.1067 | 0 | 0 | 168.4725 | 123.4953 | 354.1389 | 646.1067 | 0 | 0 | 98.4337 | 162.0387 | 385.6343 | 646.1067 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | 1 | Load received by STWs in size band 1 | kg BOD5/day | 0 | STWD001 | STWD002 | STWD003 | STWD004 | STWD005 | STWD006 | STWD007 | STWD012 | STWDP001 | STWDP002 | STWDP003 | STWDP004 | STWDP005 | STWDB001 | STWDB002 | STWDB003 | STWDB004 | STWDB005 | STWDB006 | STWDA001 | STWDA002 | STWDA003 | STWDA004 | STWDA005 | STWDA006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
2 | Load received by STWs in size band 2 | references | kg BOD5/day | 0 | 0 | 0 | 364.8801 | 22.4792 | 0 | 110.7435 | 145.2574 | 643.3601 | 0 | 0 | 119.372 | 523.9881 | 643.3601 | 0 | 0 | 221.2026 | 422.1575 | 0 | 643.3601 | 0 | 0 | 316.0696 | 308.8017 | 18.4888 | 643.3601 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | 2 | Load received by STWs in size band 2 | kg BOD5/day | 0 | STWD015 | STWD016 | STWD017 | STWD018 | STWD019 | STWD020 | STWD021 | STWD026 | STWDP015 | STWDP016 | STWDP017 | STWDP018 | STWDP019 | STWDB015 | STWDB016 | STWDB017 | STWDB018 | STWDB019 | STWDB020 | STWDA015 | STWDA016 | STWDA017 | STWDA018 | STWDA019 | STWDA020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
3 | Load received by STWs in size band 3 | in columns | kg BOD5/day | 0 | 0 | 478.5998 | 2151.7836 | 87.4175 | 200.9163 | 1089.4394 | 2984.8359 | 6992.9923 | 421.6245 | 1498.1829 | 827.4054 | 4245.7796 | 6992.9923 | 0 | 292.6103 | 3565.2489 | 3135.1332 | 0 | 6992.9923 | 0 | 354.6671 | 3264.7162 | 3132.5833 | 241.0257 | 6992.9923 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 3 | Load received by STWs in size band 3 | kg BOD5/day | 0 | STWD029 | STWD030 | STWD031 | STWD032 | STWD033 | STWD034 | STWD035 | STWD040 | STWDP029 | STWDP030 | STWDP031 | STWDP032 | STWDP033 | STWDB029 | STWDB030 | STWDB031 | STWDB032 | STWDB033 | STWDB034 | STWDA029 | STWDA030 | STWDA031 | STWDA032 | STWDA033 | STWDA034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
4 | Load received by STWs in size band 4 | AN to BQ | kg BOD5/day | 0 | 0 | 1864.1691 | 2396.2208 | 170.1631 | 2461.9416 | 757.5178 | 10446.8389 | 18096.8513 | 3456.767 | 6195.8231 | 2642.7859 | 5801.4753 | 18096.8513 | 250.718 | 608.9471 | 8533.3969 | 8703.7893 | 0 | 18096.8513 | 0 | 223.8011 | 11708.1416 | 5172.5778 | 992.3308 | 18096.8513 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 4 | Load received by STWs in size band 4 | kg BOD5/day | 0 | STWD043 | STWD044 | STWD045 | STWD046 | STWD047 | STWD048 | STWD049 | STWD054 | STWDP043 | STWDP044 | STWDP045 | STWDP046 | STWDP047 | STWDB043 | STWDB044 | STWDB045 | STWDB046 | STWDB047 | STWDB048 | STWDA043 | STWDA044 | STWDA045 | STWDA046 | STWDA047 | STWDA048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
5 | Load received by STWs in size band 5 |  | kg BOD5/day | 0 | 0 | 1510.1095 | 874.5268 | 1216.1043 | 10895.9824 | 0 | 13894.807 | 28391.53 | 6218.1744 | 6571.5798 | 9073.5359 | 6528.2399 | 28391.53 | 0 | 956.69 | 13736.155 | 13698.685 | 0 | 28391.53 | 0 | 4734.5941 | 10088.7744 | 9835.3927 | 3732.7689 | 28391.53 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 5 | Load received by STWs in size band 5 | kg BOD5/day | 0 | STWD057 | STWD058 | STWD059 | STWD060 | STWD061 | STWD062 | STWD063 | STWD068 | STWDP057 | STWDP058 | STWDP059 | STWDP060 | STWDP061 | STWDB057 | STWDB058 | STWDB059 | STWDB060 | STWDB061 | STWDB062 | STWDA057 | STWDA058 | STWDA059 | STWDA060 | STWDA061 | STWDA062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
6 | Load received by STWs above size band 5 |  | kg BOD5/day | 0 | 0 | 53164.7958 | 0 | 0 | 56024.3006 | 0 | 26201.0195 | 135390.1159 | 26149.1437 | 21867.9269 | 4770.9658 | 82602.0795 | 135390.1159 | 0 | 0 | 53471.8939 | 81918.2219 | 0 | 135390.1159 | 0 | 11392.0619 | 54648.9904 | 3655.8026 | 65693.2609 | 135390.1159 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 6 | Load received by STWs above size band 5 | kg BOD5/day | 0 | STWD101 | STWD102 | STWD103 | STWD104 | STWD105 | STWD106 | STWD107 | STWD108 | STWDP101 | STWDP102 | STWDP103 | STWDP104 | STWDP105 | STWDB101 | STWDB102 | STWDB103 | STWDB104 | STWDB105 | STWDB106 | STWDA101 | STWDA102 | STWDA103 | STWDA104 | STWDA105 | STWDA106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
7 | Total load received |  | kg BOD5/day | 0 | 13.362 | 57112.4753 | 6149.8867 | 1554.1347 | 69600.7752 | 2044.6012 | 53685.7213 | 190160.9563 | 36245.7096 | 36133.5127 | 17434.065 | 100347.669 | 190160.9563 | 250.718 | 1858.2474 | 79696.3698 | 108001.4823 | 354.1389 | 190160.9563 | 0 | 16705.1242 | 80125.1259 | 22267.1967 | 71063.5095 | 190160.9563 | Sum of lines 1 to 6. | Column N,T, Z & AF should all be equal |  | Column N,T, Z & AF should all be equal | 7 | Total load received | kg BOD5/day | 0 | STWD121 | STWD122 | STWD123 | STWD124 | STWD125 | STWD126 | STWD127 | STWD128 | STWDP121 | STWDP122 | STWDP123 | STWDP124 | STWDP125 | STWDB121 | STWDB122 | STWDB123 | STWDB124 | STWDB125 | STWDB126 | STWDA121 | STWDA122 | STWDA123 | STWDA124 | STWDA125 | STWDA126 | [28 empty] | 1
8 | Load received from trade effluent customers at treatment works |  | kg BOD5/day | 0 | [7 empty] | 11075.6347 | [18 empty] | Entries are not expected to be greater than 23% greater than the total load received |  | 0 | 8 | Load received from trade effluent customers at treatment works | kg BOD5/day | 0 | [7 empty] | STWD130 | [45 empty] | 0
A1 | Number of sewage treatment works at 31 March 2025 | [32 empty] | A1 | Number of sewage treatment works at 31 March 2025
9 | STWs in size band 1 |  | nr | 0 | 22 | 27 | 95 | 4 | 2 | 11 | 1 | 162 | 0 | 0 | 0 | 162 | 162 | 0 | 0 | 19 | 28 | 115 | 162 | 0 | 0 | 10 | 22 | 130 | 162 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 9 | STWs in size band 1 | nr | 0 | STWC001 | STWC002 | STWC003 | STWC004 | STWC005 | STWC006 | STWC007 | STWC108 | STWCP001 | STWCP002 | STWCP003 | STWCP004 | STWCP005 | STWCB001 | STWCB002 | STWCB003 | STWCB004 | STWCB005 | STWCB006 | STWCA001 | STWCA002 | STWCA003 | STWCA004 | STWCA005 | STWCA006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
10 | STWs in size band 2 |  | nr | 0 | 0 | 0 | 17 | 1 | 0 | 5 | 6 | 29 | 0 | 0 | 5 | 24 | 29 | 0 | 0 | 10 | 19 | 0 | 29 | 0 | 0 | 14 | 14 | 1 | 29 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 10 | STWs in size band 2 | nr | 0 | STWC015 | STWC016 | STWC017 | STWC018 | STWC019 | STWC020 | STWC021 | STWC109 | STWCP015 | STWCP016 | STWCP017 | STWCP018 | STWCP019 | STWCB015 | STWCB016 | STWCB017 | STWCB018 | STWCB019 | STWCB020 | STWCA015 | STWCA016 | STWCA017 | STWCA018 | STWCA019 | STWCA020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
11 | STWs in size band 3 |  | nr | 0 | 0 | 6 | 30 | 1 | 3 | 16 | 41 | 97 | 6 | 18 | 14 | 59 | 97 | 0 | 3 | 51 | 43 | 0 | 97 | 0 | 4 | 46 | 44 | 3 | 97 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 11 | STWs in size band 3 | nr | 0 | STWC029 | STWC030 | STWC031 | STWC032 | STWC033 | STWC034 | STWC035 | STWC110 | STWCP029 | STWCP030 | STWCP031 | STWCP032 | STWCP033 | STWCB029 | STWCB030 | STWCB031 | STWCB032 | STWCB033 | STWCB034 | STWCA029 | STWCA030 | STWCA031 | STWCA032 | STWCA033 | STWCA034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
12 | STWs in size band 4 |  | nr | 0 | 0 | 6 | 11 | 1 | 6 | 3 | 33 | 60 | 10 | 19 | 8 | 23 | 60 | 1 | 2 | 26 | 31 | 0 | 60 | 0 | 1 | 37 | 19 | 3 | 60 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 12 | STWs in size band 4 | nr | 0 | STWC043 | STWC044 | STWC045 | STWC046 | STWC047 | STWC048 | STWC049 | STWC111 | STWCP043 | STWCP044 | STWCP045 | STWCP046 | STWCP047 | STWCB043 | STWCB044 | STWCB045 | STWCB046 | STWCB047 | STWCB048 | STWCA043 | STWCA044 | STWCA045 | STWCA046 | STWCA047 | STWCA048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
13 | STWs in size band 5 |  | nr | 0 | 0 | 1 | 1 | 1 | 10 | 0 | 16 | 29 | 6 | 8 | 9 | 6 | 29 | 0 | 1 | 14 | 14 | 0 | 29 | 0 | 4 | 12 | 10 | 3 | 29 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 13 | STWs in size band 5 | nr | 0 | STWC057 | STWC058 | STWC059 | STWC060 | STWC061 | STWC062 | STWC063 | STWC112 | STWCP057 | STWCP058 | STWCP059 | STWCP060 | STWCP061 | STWCB057 | STWCB058 | STWCB059 | STWCB060 | STWCB061 | STWCB062 | STWCA057 | STWCA058 | STWCA059 | STWCA060 | STWCA061 | STWCA062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
14 | STWs above size band 5 |  | nr | 0 | 0 | 3 | 0 | 0 | 12 | 0 | 9 | 24 | 6 | 7 | 2 | 9 | 24 | 0 | 0 | 14 | 10 | 0 | 24 | 0 | 4 | 13 | 1 | 6 | 24 |  | Column N,T, Z & AF should all be equal | 0 | 0 | 14 | STWs above size band 5 | nr | 0 | STWC101 | STWC102 | STWC103 | STWC104 | STWC105 | STWC106 | STWC107 | STWC114 | STWCP101 | STWCP102 | STWCP103 | STWCP104 | STWCP105 | STWCB101 | STWCB102 | STWCB103 | STWCB104 | STWCB105 | STWCB106 | STWCA101 | STWCA102 | STWCA103 | STWCA104 | STWCA105 | STWCA106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
15 | Total number of works |  | nr | 0 | 22 | 43 | 154 | 8 | 33 | 35 | 106 | 401 | 28 | 52 | 38 | 283 | 401 | 1 | 6 | 134 | 145 | 115 | 401 | 0 | 13 | 132 | 110 | 146 | 401 | Sum of lines 9 to 14. | Column N,T, Z & AF should all be equal |  | 0 | 15 | Total number of works | nr | 0 | STWC121 | STWC122 | STWC123 | STWC124 | STWC125 | STWC126 | STWC127 | STWC115 | STWCP121 | STWCP122 | STWCP123 | STWCP124 | STWCP125 | STWCB121 | STWCB122 | STWCB123 | STWCB124 | STWCB125 | STWCB126 | STWCA121 | STWCA122 | STWCA123 | STWCA124 | STWCA125 | STWCA126 | [28 empty] | 0
B | Load received at sewage treatment works in 2023-24
1 | Load received by STWs in size band 1 |  | kg BOD5/day | 0 | 13.2867 | 94.2379 | 360.4189 | 57.6565 | 17.5468 | 86.4508 | 12.8705 | 642.4681 | 0 | 0 | 0 | 642.4681 | 642.4681 | 0 | 0 | 167.5635 | 122.7837 | 352.1209 | 642.4681 | 0 | 0 | 97.9145 | 161.1436 | 383.4101 | 642.4681 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
2 | Load received by STWs in size band 2 |  | kg BOD5/day | 0 | 0 | 0 | 414.7259 | 22.3823 | 0 | 110.1319 | 92.4674 | 639.7076 | 0 | 0 | 66.7334 | 572.9742 | 639.7076 | 0 | 0 | 219.9498 | 419.7578 | 0 | 639.7076 | 0 | 0 | 314.3165 | 306.9878 | 18.4033 | 639.7076 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
3 | Load received by STWs in size band 3 |  | kg BOD5/day | 0 | 0 | 545.6915 | 2251.4246 | 86.9306 | 130.0404 | 1247.8032 | 2696.3965 | 6958.2867 | 349.5047 | 1305.1767 | 733.4057 | 4570.1996 | 6958.2867 | 0 | 290.4752 | 3549.3644 | 3118.4471 | 0 | 6958.2867 | 0 | 354.634 | 3247.3984 | 3116.479 | 239.7754 | 6958.2867 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
4 | Load received by STWs in size band 4 |  | kg BOD5/day | 0 | 0 | 1854.9857 | 2377.9128 | 168.7486 | 2448.9614 | 752.8923 | 10411.2758 | 18014.7766 | 3436.7784 | 6176.7377 | 2635.6912 | 5765.5693 | 18014.7766 | 245.9696 | 618.5211 | 8492.2858 | 8658.0002 | 0 | 18014.7766 | 0 | 0 | 11881.4845 | 5144.3599 | 988.9323 | 18014.7766 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
5 | Load received by STWs in size band 5 |  | kg BOD5/day | 0 | 0 | 1502.1183 | 867.9576 | 1205.8192 | 10896.9041 | 0 | 13794.425 | 28267.2242 | 6216.6889 | 6496.5832 | 9060.797 | 6493.1551 | 28267.2242 | 0 | 970.4121 | 13681.6859 | 13615.1262 | 0 | 28267.2242 | 0 | 4760.8868 | 8805.1896 | 10983.6442 | 3717.5036 | 28267.2242 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
6 | Load received by STWs above size band 5 |  | kg BOD5/day | 0 | 0 | 52841.9873 | 0 | 0 | 56017.7933 | 0 | 26025.8389 | 134885.6196 | 10941.1139 | 25259.8704 | 6323.7904 | 92360.8449 | 134885.6196 | 0 | 0 | 53161.3369 | 81724.2827 | 0 | 134885.6196 | 0 | 11376.8486 | 54264.3129 | 3966.7219 | 65277.7362 | 134885.6196 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
7 | Total load received |  | kg BOD5/day | 0 | 13.2867 | 56839.0206 | 6272.4399 | 1541.5372 | 69511.2461 | 2197.2782 | 53033.2742 | 189408.0828 | 20944.0859 | 39238.3681 | 18820.4177 | 110405.2112 | 189408.0828 | 245.9696 | 1879.4084 | 79272.1863 | 107658.3976 | 352.1209 | 189408.0828 | 0 | 16492.3693 | 78610.6162 | 23679.3364 | 70625.7609 | 189408.0828 | Sum of lines 1 to 6. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
8 | Load received from trade effluent customers at treatment works |  | kg BOD5/day | 0 | [7 empty] | 11618.5422 | [18 empty] | Entries are not expected to be greater than 23% greater than the total load received |  | 0 | [57 empty] | 0
B1 | Number of sewage treatment works at 31 March 2024
9 | STWs in size band 1 |  | nr | 0 | 22 | 27 | 95 | 4 | 2 | 11 | 1 | 162 | 0 | 0 | 0 | 162 | 162 | 0 | 0 | 19 | 28 | 115 | 162 | 0 | 0 | 10 | 22 | 130 | 162 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
10 | STWs in size band 2 |  | nr | 0 | 0 | 0 | 19 | 1 | 0 | 5 | 4 | 29 | 0 | 0 | 3 | 26 | 29 | 0 | 0 | 10 | 19 | 0 | 29 | 0 | 0 | 14 | 14 | 1 | 29 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
11 | STWs in size band 3 |  | nr | 0 | 0 | 7 | 32 | 1 | 2 | 18 | 37 | 97 | 5 | 16 | 12 | 64 | 97 | 0 | 3 | 51 | 43 | 0 | 97 | 0 | 4 | 46 | 44 | 3 | 97 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
12 | STWs in size band 4 |  | nr | 0 | 0 | 6 | 11 | 1 | 6 | 3 | 33 | 60 | 10 | 19 | 8 | 23 | 60 | 1 | 2 | 26 | 31 | 0 | 60 | 0 | 0 | 38 | 19 | 3 | 60 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
13 | STWs in size band 5 |  | nr | 0 | 0 | 1 | 1 | 1 | 10 | 0 | 16 | 29 | 6 | 8 | 9 | 6 | 29 | 0 | 1 | 14 | 14 | 0 | 29 | 0 | 4 | 11 | 11 | 3 | 29 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
14 | STWs above size band 5 |  | nr | 0 | 0 | 3 | 0 | 0 | 12 | 0 | 9 | 24 | 4 | 7 | 3 | 10 | 24 | 0 | 0 | 14 | 10 | 0 | 24 | 0 | 4 | 13 | 1 | 6 | 24 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
15 | Total number of works |  | nr | 0 | 22 | 44 | 158 | 8 | 32 | 37 | 100 | 401 | 25 | 50 | 35 | 291 | 401 | 1 | 6 | 134 | 145 | 115 | 401 | 0 | 12 | 132 | 111 | 146 | 401 | Sum of lines 9 to 14. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
C | Load received at sewage treatment works in 2022-23
1 | Load received by STWs in size band 1 |  | kg BOD5/day | 0 | 13.2089 | 93.6608 | 358.3819 | 57.3371 | 17.4571 | 85.9901 | 12.7836 | 638.8195 | 0 | 0 | 0 | 638.8195 | 638.8195 | 0 | 0 | 166.6499 | 122.0686 | 350.101 | 638.8195 | 0 | 0 | 97.398 | 160.2369 | 381.1846 | 638.8195 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
2 | Load received by STWs in size band 2 |  | kg BOD5/day | 0 | 0 | 0 | 412.2974 | 22.2855 | 0 | 109.5478 | 91.9604 | 636.091 | 0 | 0 | 66.3776 | 569.7134 | 636.091 | 0 | 0 | 218.689 | 417.402 | 0 | 636.091 | 0 | 0 | 312.5727 | 305.204 | 18.3143 | 636.091 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
3 | Load received by STWs in size band 3 |  | kg BOD5/day | 0 | 0 | 542.5537 | 2455.0017 | 142.5652 | 73.2358 | 1302.7557 | 2407.2427 | 6923.3548 | 291.4881 | 999.0457 | 629.9469 | 5002.8741 | 6923.3548 | 0 | 288.2507 | 3533.4023 | 3101.7018 | 0 | 6923.3548 | 0 | 354.6076 | 3230.0304 | 3100.1887 | 238.5282 | 6923.3548 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
4 | Load received by STWs in size band 4 |  | kg BOD5/day | 0 | 0 | 1846.194 | 2514.1929 | 167.3061 | 2435.5473 | 1223.836 | 9744.7239 | 17931.8002 | 2741.1895 | 5768.4827 | 2408.6514 | 7013.4766 | 17931.8002 | 0 | 628.5842 | 8691.5833 | 8611.6327 | 0 | 17931.8002 | 0 | 0 | 11829.7952 | 5116.2823 | 985.7227 | 17931.8002 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
5 | Load received by STWs in size band 5 |  | kg BOD5/day | 0 | 0 | 1494.1351 | 861.269 | 2192.3691 | 9903.0783 | 0 | 13697.9327 | 28148.7842 | 5220.0232 | 6425.3381 | 9048.576 | 7454.8469 | 28148.7842 | 0 | 984.7384 | 13632.3617 | 13531.6841 | 0 | 28148.7842 | 0 | 4788.8954 | 8743.899 | 10913.6991 | 3702.2908 | 28148.7842 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
6 | Load received by STWs above size band 5 |  | kg BOD5/day | 0 | 0 | 52518.2507 | 0 | 0 | 49695.9119 | 0 | 32163.401 | 134377.5636 | 5389.9939 | 21677.7002 | 12593.3561 | 94716.5134 | 134377.5636 | 0 | 0 | 49514.4289 | 84863.1346 | 0 | 134377.5636 | 0 | 11364.9617 | 50542.2193 | 7608.4235 | 64861.9591 | 134377.5636 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
7 | Total load received |  | kg BOD5/day | 0 | 13.2089 | 56494.7944 | 6601.1428 | 2581.863 | 62125.2304 | 2722.1296 | 58118.0443 | 188656.4134 | 13642.6947 | 34870.5667 | 24746.9081 | 115396.2439 | 188656.4134 | 0 | 1901.5734 | 75757.1151 | 110647.6238 | 350.101 | 188656.4134 | 0 | 16508.4646 | 74755.9145 | 27204.0345 | 70187.9997 | 188656.4134 | Sum of lines 1 to 6. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
8 | Load received from trade effluent customers at treatment works |  | kg BOD5/day | 0 | [7 empty] | 12160.251 | [18 empty] | Entries are not expected to be greater than 23% greater than the total load received |  | 0 | [57 empty] | 0
C1 | Number of sewage treatment works at 31 March 2023
9 | STWs in size band 1 |  | nr | 0 | 22 | 27 | 95 | 4 | 2 | 11 | 1 | 162 | 0 | 0 | 0 | 162 | 162 | 0 | 0 | 19 | 28 | 115 | 162 | 0 | 0 | 10 | 22 | 130 | 162 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
10 | STWs in size band 2 |  | nr | 0 | 0 | 0 | 19 | 1 | 0 | 5 | 4 | 29 | 0 | 0 | 3 | 26 | 29 | 0 | 0 | 10 | 19 | 0 | 29 | 0 | 0 | 14 | 14 | 1 | 29 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
11 | STWs in size band 3 |  | nr | 0 | 0 | 7 | 35 | 2 | 1 | 19 | 33 | 97 | 4 | 13 | 10 | 70 | 97 | 0 | 3 | 51 | 43 | 0 | 97 | 0 | 4 | 46 | 44 | 3 | 97 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
12 | STWs in size band 4 |  | nr | 0 | 0 | 6 | 12 | 1 | 6 | 5 | 30 | 60 | 8 | 17 | 7 | 28 | 60 | 0 | 2 | 27 | 31 | 0 | 60 | 0 | 0 | 38 | 19 | 3 | 60 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
13 | STWs in size band 5 |  | nr | 0 | 0 | 1 | 1 | 2 | 9 | 0 | 16 | 29 | 5 | 8 | 9 | 7 | 29 | 0 | 1 | 14 | 14 | 0 | 29 | 0 | 4 | 11 | 11 | 3 | 29 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
14 | STWs above size band 5 |  | nr | 0 | 0 | 3 | 0 | 0 | 10 | 0 | 11 | 24 | 2 | 6 | 5 | 11 | 24 | 0 | 0 | 13 | 11 | 0 | 24 | 0 | 4 | 12 | 2 | 6 | 24 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
15 | Total number of works |  | nr | 0 | 22 | 44 | 162 | 10 | 28 | 40 | 95 | 401 | 19 | 44 | 34 | 304 | 401 | 0 | 6 | 134 | 146 | 115 | 401 | 0 | 12 | 131 | 112 | 146 | 401 | Sum of lines 9 to 14. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
D | Load received at sewage treatment works in 2021-22
1 | Load received by STWs in size band 1 |  | kg BOD5/day | 0 | 13.1349 | 93.1069 | 371.3243 | 57.0232 | 17.365 | 85.5365 | 12.6915 | 650.1822 | 0 | 0 | 0 | 650.1822 | 650.1822 | 0 | 0 | 180.7561 | 121.3563 | 348.0698 | 650.1822 | 0 | 0 | 96.9113 | 174.3264 | 378.9445 | 650.1822 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
2 | Load received by STWs in size band 2 |  | kg BOD5/day | 0 | 0 | 0 | 394.8834 | 22.1888 | 0 | 108.9505 | 91.4197 | 617.4424 | 0 | 0 | 66.0046 | 551.4378 | 617.4424 | 0 | 0 | 202.4271 | 415.0153 | 0 | 617.4424 | 0 | 0 | 310.8614 | 288.3592 | 18.2218 | 617.4424 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
3 | Load received by STWs in size band 3 |  | kg BOD5/day | 0 | 0 | 539.3876 | 2483.9517 | 141.8419 | 72.8543 | 1375.4035 | 2274.5712 | 6888.0103 | 210.8414 | 950.9597 | 626.7931 | 5099.4161 | 6888.0103 | 0 | 285.9856 | 3517.2456 | 3084.7791 | 0 | 6888.0103 | 0 | 354.641 | 3212.2841 | 3083.7282 | 237.3569 | 6888.0103 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
4 | Load received by STWs in size band 4 |  | kg BOD5/day | 0 | 0 | 2083.8607 | 3715.1162 | 165.8495 | 2177.0314 | 2471.6313 | 7238.5759 | 17852.065 | 1745.1623 | 4061.5164 | 2352.4951 | 9692.8912 | 17852.065 | 0 | 639.0886 | 8646.1952 | 8566.7811 | 0 | 17852.065 | 0 | 0 | 11779.7576 | 5088.4345 | 983.8729 | 17852.065 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
5 | Load received by STWs in size band 5 |  | kg BOD5/day | 0 | 0 | 1486.1602 | 854.5329 | 2196.2157 | 9895.5155 | 611.9324 | 12991.5826 | 28035.9393 | 5205.6168 | 6355.9995 | 7042.5186 | 9431.8044 | 28035.9393 | 0 | 999.7005 | 13585.2788 | 13450.96 | 0 | 28035.9393 | 0 | 4817.927 | 8685.2676 | 10843.5578 | 3689.1868 | 28035.9393 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
6 | Load received by STWs above size band 5 |  | kg BOD5/day | 0 | 0 | 52195.2522 | 1683.4665 | 0 | 49764.484 | 0 | 29955.3867 | 133598.5894 | 3754.733 | 21463.0196 | 9433.4022 | 98947.4345 | 133598.5894 | 0 | 0 | 48922.8832 | 84675.7062 | 0 | 133598.5894 | 0 | 11020.3888 | 50209.5011 | 7921.0878 | 64447.6117 | 133598.5894 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
7 | Total load received |  | kg BOD5/day | 0 | 13.1349 | 56397.7676 | 9503.2751 | 2583.1191 | 61927.2502 | 4653.4542 | 52564.2275 | 187642.2286 | 10916.3535 | 32831.4952 | 19521.2136 | 124373.1662 | 187642.2286 | 0 | 1924.7747 | 75054.786 | 110314.5981 | 348.0698 | 187642.2286 | 0 | 16192.9568 | 74294.5832 | 27399.4939 | 69755.1947 | 187642.2286 | Sum of lines 1 to 6. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
8 | Load received from trade effluent customers at treatment works |  | kg BOD5/day | 0 | [7 empty] | 12417.5871 | [18 empty] | Entries are not expected to be greater than 23% greater than the total load received |  | 0 | [57 empty] | 0
D1 | Number of sewage treatment works at 31 March 2022
9 | STWs in size band 1 |  | nr | 0 | 22 | 27 | 96 | 4 | 2 | 11 | 1 | 163 | 0 | 0 | 0 | 163 | 163 | 0 | 0 | 20 | 28 | 115 | 163 | 0 | 0 | 10 | 23 | 130 | 163 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
10 | STWs in size band 2 |  | nr | 0 | 0 | 0 | 18 | 1 | 0 | 5 | 4 | 28 | 0 | 0 | 3 | 25 | 28 | 0 | 0 | 9 | 19 | 0 | 28 | 0 | 0 | 14 | 13 | 1 | 28 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
11 | STWs in size band 3 |  | nr | 0 | 0 | 7 | 36 | 2 | 1 | 20 | 31 | 97 | 3 | 12 | 10 | 72 | 97 | 0 | 3 | 51 | 43 | 0 | 97 | 0 | 4 | 46 | 44 | 3 | 97 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
12 | STWs in size band 4 |  | nr | 0 | 0 | 7 | 16 | 1 | 5 | 8 | 23 | 60 | 5 | 12 | 7 | 36 | 60 | 0 | 2 | 27 | 31 | 0 | 60 | 0 | 0 | 38 | 19 | 3 | 60 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
13 | STWs in size band 5 |  | nr | 0 | 0 | 1 | 1 | 2 | 9 | 1 | 15 | 29 | 5 | 8 | 7 | 9 | 29 | 0 | 1 | 14 | 14 | 0 | 29 | 0 | 4 | 11 | 11 | 3 | 29 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
14 | STWs above size band 5 |  | nr | 0 | 0 | 3 | 1 | 0 | 10 | 0 | 10 | 24 | 1 | 6 | 4 | 13 | 24 | 0 | 0 | 13 | 11 | 0 | 24 | 0 | 4 | 12 | 2 | 6 | 24 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
15 | Total number of works |  | nr | 0 | 22 | 45 | 168 | 10 | 27 | 45 | 84 | 401 | 14 | 38 | 31 | 318 | 401 | 0 | 6 | 134 | 146 | 115 | 401 | 0 | 12 | 131 | 112 | 146 | 401 | Sum of lines 9 to 14. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
E | Load received at sewage treatment works in 2020-21
1 | Load received by STWs in size band 1 |  | kg BOD5/day | 0 | 10.4367 | 92.569 | 369.1491 | 56.7223 | 17.2746 | 85.0846 | 12.5967 | 643.8329 | 0 | 0 | 0 | 643.8329 | 643.8329 | 0 | 0 | 179.7834 | 120.6363 | 343.4132 | 643.8329 | 0 | 0 | 96.4279 | 173.3305 | 374.0745 | 643.8329 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
2 | Load received by STWs in size band 2 |  | kg BOD5/day | 0 | 0 | 0 | 392.6737 | 22.0922 | 0 | 108.3454 | 90.899 | 614.0103 | 0 | 0 | 65.6407 | 548.3696 | 614.0103 | 0 | 0 | 201.291 | 412.7193 | 0 | 614.0103 | 0 | 0 | 309.2439 | 286.6379 | 18.1285 | 614.0103 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
3 | Load received by STWs in size band 3 |  | kg BOD5/day | 0 | 0 | 536.3196 | 2877.8605 | 141.2165 | 72.452 | 1514.7185 | 1710.5677 | 6853.1349 | 0 | 787.7795 | 437.4 | 5627.9554 | 6853.1349 | 0 | 283.7433 | 3501.5689 | 3067.8227 | 0 | 6853.1349 | 0 | 354.8106 | 3194.7305 | 3067.3444 | 236.2493 | 6853.1349 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
4 | Load received by STWs in size band 4 |  | kg BOD5/day | 0 | 0 | 2073.8687 | 4569.8045 | 164.4357 | 2165.6406 | 3518.8301 | 5880.3913 | 18372.9711 | 872.8714 | 3339.9101 | 2582.688 | 11577.5016 | 18372.9711 | 0 | 650.2562 | 8601.2423 | 9121.4726 | 0 | 18372.9711 | 0 | 0 | 11730.4684 | 5661.4538 | 981.0489 | 18372.9711 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
5 | Load received by STWs in size band 5 |  | kg BOD5/day | 0 | 0 | 2562.3266 | 848.0348 | 2200.27 | 8804.7713 | 0 | 12903.5174 | 27318.9201 | 1995.9896 | 7688.6911 | 7757.2741 | 9876.9653 | 27318.9201 | 0 | 1015.4144 | 13542.1606 | 12761.3451 | 0 | 27318.9201 | 0 | 4848.7017 | 8630.7035 | 10163.7782 | 3675.7367 | 27318.9201 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
6 | Load received by STWs above size band 5 |  | kg BOD5/day | 0 | 0 | 51879.105 | 1714.059 | 0 | 49575.6485 | 0 | 29466.133 | 132634.9456 | 0 | 25026.4265 | 9116.1994 | 98492.3197 | 132634.9456 | 0 | 0 | 48381.6339 | 84253.3117 | 0 | 132634.9456 | 0 | 10732.4793 | 49873.8564 | 7990.7139 | 64037.896 | 132634.9456 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
7 | Total load received |  | kg BOD5/day | 0 | 10.4367 | 57144.1889 | 10771.5817 | 2584.7368 | 60635.7871 | 5226.9786 | 50064.1052 | 186437.8149 | 2868.861 | 36842.8072 | 19959.2021 | 126766.9445 | 186437.8149 | 0 | 1949.4138 | 74407.6801 | 109737.3077 | 343.4132 | 186437.8149 | 0 | 15935.9916 | 73835.4307 | 27343.2587 | 69323.1339 | 186437.8149 | Sum of lines 1 to 6. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
8 | Load received from trade effluent customers at treatment works |  | kg BOD5/day | 0 | [7 empty] | 12486.995 | [18 empty] | Entries are not expected to be greater than 23% greater than the total load received |  | 0 | [57 empty] | 0
E1 | Number of sewage treatment works at 31 March 2021
9 | STWs in size band 1 |  | nr | 0 | 21 | 27 | 96 | 4 | 2 | 11 | 1 | 162 | 0 | 0 | 0 | 162 | 162 | 0 | 0 | 20 | 28 | 114 | 162 | 0 | 0 | 10 | 23 | 129 | 162 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
10 | STWs in size band 2 |  | nr | 0 | 0 | 0 | 18 | 1 | 0 | 5 | 4 | 28 | 0 | 0 | 3 | 25 | 28 | 0 | 0 | 9 | 19 | 0 | 28 | 0 | 0 | 14 | 13 | 1 | 28 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
11 | STWs in size band 3 |  | nr | 0 | 0 | 7 | 42 | 2 | 1 | 22 | 23 | 97 | 0 | 10 | 7 | 80 | 97 | 0 | 3 | 51 | 43 | 0 | 97 | 0 | 4 | 46 | 44 | 3 | 97 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
12 | STWs in size band 4 |  | nr | 0 | 0 | 7 | 20 | 1 | 5 | 10 | 18 | 61 | 2 | 10 | 7 | 42 | 61 | 0 | 2 | 27 | 32 | 0 | 61 | 0 | 0 | 38 | 20 | 3 | 61 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
13 | STWs in size band 5 |  | nr | 0 | 0 | 2 | 1 | 2 | 8 | 0 | 15 | 28 | 2 | 9 | 8 | 9 | 28 | 0 | 1 | 14 | 13 | 0 | 28 | 0 | 4 | 11 | 10 | 3 | 28 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
14 | STWs above size band 5 |  | nr | 0 | 0 | 3 | 1 | 0 | 10 | 0 | 10 | 24 | 0 | 7 | 4 | 13 | 24 | 0 | 0 | 13 | 11 | 0 | 24 | 0 | 4 | 12 | 2 | 6 | 24 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
15 | Total number of works |  | nr | 0 | 21 | 46 | 178 | 10 | 26 | 48 | 71 | 400 | 4 | 36 | 29 | 331 | 400 | 0 | 6 | 134 | 146 | 114 | 400 | 0 | 12 | 131 | 112 | 145 | 400 | Sum of lines 9 to 14. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
F | Load received at sewage treatment works in 2019-20
1 | Load received by STWs in size band 1 |  | kg BOD5/day | 0 | 10.379 | 92.0267 | 367.0049 | 56.4161 | 17.1846 | 84.6474 | 12.502 | 640.1609 | 0 | 0 | 0 | 640.1609 | 640.1609 | 0 | 0 | 178.8218 | 119.9228 | 341.4163 | 640.1609 | 0 | 0 | 95.9558 | 172.3383 | 371.8667 | 640.1609 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
2 | Load received by STWs in size band 2 |  | kg BOD5/day | 0 | 0 | 0 | 390.473 | 21.9957 | 0 | 107.7516 | 90.3765 | 610.5967 | 0 | 0 | 65.2694 | 545.3274 | 610.5967 | 0 | 0 | 200.1926 | 410.4041 | 0 | 610.5967 | 0 | 0 | 307.6352 | 284.9236 | 18.0379 | 610.5967 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
3 | Load received by STWs in size band 3 |  | kg BOD5/day | 0 | 0 | 533.3105 | 2862.3479 | 140.5578 | 72.0709 | 1605.5385 | 1725.911 | 6939.7366 | 0 | 904.0637 | 336.928 | 5698.7449 | 6939.7366 | 0 | 281.5205 | 3486.3075 | 3171.9086 | 0 | 6939.7366 | 0 | 355.1037 | 3177.5405 | 3171.9717 | 235.1206 | 6939.7366 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
4 | Load received by STWs in size band 4 |  | kg BOD5/day | 0 | 0 | 2065.0911 | 4538.0251 | 163.0363 | 2844.6189 | 3493.1557 | 6323.2815 | 19427.2087 | 868.4723 | 3799.5893 | 2564.6768 | 12194.4704 | 19427.2087 | 0 | 662.0549 | 9127.9889 | 9637.1649 | 0 | 19427.2087 | 0 | 0 | 12253.9012 | 6193.9348 | 979.3727 | 19427.2087 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
5 | Load received by STWs in size band 5 |  | kg BOD5/day | 0 | 0 | 2551.0537 | 841.6335 | 2205.3952 | 8114.2146 | 0 | 13720.8211 | 27433.1179 | 1986.2204 | 6691.8672 | 9595.9106 | 9159.1198 | 27433.1179 | 0 | 1032.0254 | 14405.6878 | 11995.4047 | 0 | 27433.1179 | 0 | 4882.0893 | 9480.9822 | 9406.9809 | 3663.0656 | 27433.1179 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
6 | Load received by STWs above size band 5 |  | kg BOD5/day | 0 | 0 | 51562.3884 | 1746.4583 | 0 | 49589.0809 | 0 | 27485.5182 | 130383.4458 | 0 | 23343.0635 | 8800.9378 | 98239.4444 | 130383.4458 | 0 | 0 | 46340.7189 | 84042.7269 | 0 | 130383.4458 | 0 | 8376.5729 | 50110.2861 | 8282.1148 | 63614.4719 | 130383.4458 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
7 | Total load received |  | kg BOD5/day | 0 | 10.379 | 56803.8704 | 10745.9427 | 2587.401 | 60637.1699 | 5291.0932 | 49358.4103 | 185434.2667 | 2854.6927 | 34738.5837 | 21363.7225 | 126477.2677 | 185434.2667 | 0 | 1975.6008 | 73739.7174 | 109377.532 | 341.4163 | 185434.2667 | 0 | 13613.7659 | 75426.3011 | 27512.2641 | 68881.9355 | 185434.2667 | Sum of lines 1 to 6. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
8 | Load received from trade effluent customers at treatment works |  | kg BOD5/day | 0 | [7 empty] | 12746.3137 | [18 empty] | Entries are not expected to be greater than 23% greater than the total load received |  | 0 | [57 empty] | 0
F1 | Number of sewage treatment works at 31 March 2020
9 | STWs in size band 1 |  | nr | 0 | 21 | 27 | 96 | 4 | 2 | 11 | 1 | 162 | 0 | 0 | 0 | 162 | 162 | 0 | 0 | 20 | 28 | 114 | 162 | 0 | 0 | 10 | 23 | 129 | 162 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
10 | STWs in size band 2 |  | nr | 0 | 0 | 0 | 18 | 1 | 0 | 5 | 4 | 28 | 0 | 0 | 3 | 25 | 28 | 0 | 0 | 9 | 19 | 0 | 28 | 0 | 0 | 14 | 13 | 1 | 28 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
11 | STWs in size band 3 |  | nr | 0 | 0 | 7 | 42 | 2 | 1 | 23 | 23 | 98 | 0 | 11 | 6 | 81 | 98 | 0 | 3 | 51 | 44 | 0 | 98 | 0 | 4 | 46 | 45 | 3 | 98 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
12 | STWs in size band 4 |  | nr | 0 | 0 | 7 | 20 | 1 | 6 | 10 | 18 | 62 | 2 | 10 | 7 | 43 | 62 | 0 | 2 | 28 | 32 | 0 | 62 | 0 | 0 | 39 | 20 | 3 | 62 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
13 | STWs in size band 5 |  | nr | 0 | 0 | 2 | 1 | 2 | 7 | 0 | 15 | 27 | 2 | 7 | 10 | 8 | 27 | 0 | 1 | 14 | 12 | 0 | 27 | 0 | 4 | 11 | 9 | 3 | 27 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
14 | STWs above size band 5 |  | nr | 0 | 0 | 3 | 1 | 0 | 10 | 0 | 9 | 23 | 0 | 6 | 4 | 13 | 23 | 0 | 0 | 12 | 11 | 0 | 23 | 0 | 3 | 12 | 2 | 6 | 23 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
15 | Total number of works |  | nr | 0 | 21 | 46 | 178 | 10 | 26 | 49 | 70 | 400 | 4 | 34 | 30 | 332 | 400 | 0 | 6 | 134 | 146 | 114 | 400 | 0 | 11 | 132 | 112 | 145 | 400 | Sum of lines 9 to 14. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
G | Load received at sewage treatment works in 2018-19
1 | Load received by STWs in size band 1 |  | kg BOD5/day | 0 | 10.321 | 91.5029 | 364.9081 | 56.1239 | 17.0969 | 84.2113 | 12.4074 | 636.5715 | 0 | 0 | 0 | 636.5715 | 636.5715 | 0 | 0 | 177.8532 | 119.2327 | 339.4856 | 636.5715 | 0 | 0 | 95.4755 | 171.3687 | 369.7273 | 636.5715 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
2 | Load received by STWs in size band 2 |  | kg BOD5/day | 0 | 0 | 0 | 440.7094 | 21.8993 | 0 | 126.1863 | 48.0329 | 636.8279 | 0 | 0 | 23.0769 | 613.751 | 636.8279 | 0 | 0 | 228.8829 | 407.945 | 0 | 636.8279 | 0 | 0 | 335.5926 | 283.2871 | 17.9482 | 636.8279 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
3 | Load received by STWs in size band 3 |  | kg BOD5/day | 0 | 0 | 530.3163 | 3086.5639 | 139.8966 | 71.7006 | 1840.3682 | 1235.9289 | 6904.7746 | 0 | 598.1199 | 153.2384 | 6153.4162 | 6904.7746 | 0 | 279.2772 | 3470.3711 | 3155.1263 | 0 | 6904.7746 | 0 | 355.4962 | 3159.4284 | 3155.8307 | 234.0193 | 6904.7746 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
4 | Load received by STWs in size band 4 |  | kg BOD5/day | 0 | 0 | 2055.1774 | 4701.6029 | 161.5946 | 2830.4448 | 4273.6224 | 5263.4738 | 19285.9159 | 864.1005 | 3738.2235 | 1564.9286 | 13118.6633 | 19285.9159 | 0 | 674.4258 | 9038.9696 | 9572.5205 | 0 | 19285.9159 | 0 | 0 | 12162.2897 | 6146.796 | 976.8302 | 19285.9159 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
5 | Load received by STWs in size band 5 |  | kg BOD5/day | 0 | 0 | 2541.6046 | 1694.0372 | 2212.4634 | 8116.9904 | 0 | 12796.9947 | 27362.0904 | 1976.5548 | 5802.4897 | 9587.4862 | 9995.5597 | 27362.0904 | 0 | 1049.514 | 14391.0611 | 11921.5153 | 0 | 27362.0904 | 0 | 2464.4854 | 11903.2203 | 9344.6578 | 3649.727 | 27362.0904 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
6 | Load received by STWs above size band 5 |  | kg BOD5/day | 0 | 0 | 51061.1801 | 1780.608 | 0 | 49080.3431 | 0 | 27187.1962 | 129109.3273 | 0 | 23179.6596 | 8651.6699 | 97277.9977 | 129109.3273 | 0 | 0 | 46007.4088 | 83101.9185 | 0 | 129109.3273 | 0 | 8372.9061 | 49694.3424 | 8027.146 | 63014.9329 | 129109.3273 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
7 | Total load received |  | kg BOD5/day | 0 | 10.321 | 56279.7812 | 12068.4295 | 2591.9779 | 60116.5758 | 6324.3883 | 46544.0339 | 183935.5076 | 2840.6553 | 33318.4928 | 19980.4 | 127795.9594 | 183935.5076 | 0 | 2003.217 | 73314.5467 | 108278.2582 | 339.4856 | 183935.5076 | 0 | 11192.8876 | 77350.3489 | 27129.0863 | 68263.1848 | 183935.5076 | Sum of lines 1 to 6. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
8 | Load received from trade effluent customers at treatment works |  | kg BOD5/day | 0 | [7 empty] | 12661.2217 | [18 empty] | Entries are not expected to be greater than 23% greater than the total load received |  | 0 | [57 empty] | 0
G1 | Number of sewage treatment works at 31 March 2019
9 | STWs in size band 1 |  | nr | 0 | 21 | 27 | 96 | 4 | 2 | 11 | 1 | 162 | 0 | 0 | 0 | 162 | 162 | 0 | 0 | 20 | 28 | 114 | 162 | 0 | 0 | 10 | 23 | 129 | 162 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
10 | STWs in size band 2 |  | nr | 0 | 0 | 0 | 20 | 1 | 0 | 6 | 2 | 29 | 0 | 0 | 1 | 28 | 29 | 0 | 0 | 10 | 19 | 0 | 29 | 0 | 0 | 15 | 13 | 1 | 29 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
11 | STWs in size band 3 |  | nr | 0 | 0 | 7 | 45 | 2 | 1 | 27 | 16 | 98 | 0 | 7 | 3 | 88 | 98 | 0 | 3 | 51 | 44 | 0 | 98 | 0 | 4 | 46 | 45 | 3 | 98 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
12 | STWs in size band 4 |  | nr | 0 | 0 | 7 | 21 | 1 | 6 | 13 | 14 | 62 | 2 | 10 | 3 | 47 | 62 | 0 | 2 | 28 | 32 | 0 | 62 | 0 | 0 | 39 | 20 | 3 | 62 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
13 | STWs in size band 5 |  | nr | 0 | 0 | 2 | 2 | 2 | 7 | 0 | 14 | 27 | 2 | 6 | 10 | 9 | 27 | 0 | 1 | 14 | 12 | 0 | 27 | 0 | 2 | 13 | 9 | 3 | 27 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
14 | STWs above size band 5 |  | nr | 0 | 0 | 3 | 1 | 0 | 10 | 0 | 9 | 23 | 0 | 6 | 4 | 13 | 23 | 0 | 0 | 12 | 11 | 0 | 23 | 0 | 3 | 12 | 2 | 6 | 23 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
15 | Total number of works |  | nr | 0 | 21 | 46 | 185 | 10 | 26 | 57 | 56 | 401 | 4 | 29 | 21 | 347 | 401 | 0 | 6 | 135 | 146 | 114 | 401 | 0 | 9 | 135 | 112 | 145 | 401 | Sum of lines 9 to 14. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
H | Load received at sewage treatment works in 2017-18
1 | Load received by STWs in size band 1 |  | kg BOD5/day | 0 | 10.2623 | 90.9821 | 362.7807 | 55.8383 | 16.9899 | 83.7672 | 12.3205 | 632.9411 | 0 | 0 | 0 | 632.9411 | 632.9411 | 0 | 0 | 176.8913 | 118.5749 | 337.475 | 632.9411 | 0 | 0 | 94.9871 | 170.4396 | 367.5144 | 632.9411 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
2 | Load received by STWs in size band 2 |  | kg BOD5/day | 0 | 0 | 0 | 468.4679 | 21.8356 | 0 | 125.4997 | 47.7445 | 663.5478 | 0 | 0 | 22.9233 | 640.6244 | 663.5478 | 0 | 0 | 227.599 | 435.9487 | 0 | 663.5478 | 0 | 0 | 333.5462 | 312.172 | 17.8296 | 663.5478 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
3 | Load received by STWs in size band 3 |  | kg BOD5/day | 0 | 0 | 527.3933 | 3260.3268 | 139.2199 | 71.3305 | 1831.3598 | 1008.347 | 6837.9773 | 0 | 430.8454 | 93.2795 | 6313.8524 | 6837.9773 | 0 | 276.8569 | 3454.5852 | 3106.5352 | 0 | 6837.9773 | 0 | 355.8339 | 3141.192 | 3107.9455 | 233.0059 | 6837.9773 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
4 | Load received by STWs in size band 4 |  | kg BOD5/day | 0 | 0 | 2603.8587 | 5144.7644 | 160.139 | 2259.6262 | 4253.7938 | 4752.3622 | 19174.5442 | 492.3535 | 3705.6865 | 893.9373 | 14082.567 | 19174.5442 | 0 | 687.5091 | 8977.2853 | 9509.7499 | 0 | 19174.5442 | 0 | 0 | 12096.6333 | 6102.6304 | 975.2806 | 19174.5442 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
5 | Load received by STWs in size band 5 |  | kg BOD5/day | 0 | 0 | 2532.975 | 2593.9596 | 2220.3622 | 8118.1256 | 0 | 11803.9802 | 27269.4027 | 1963.6537 | 5771.9795 | 8649.7711 | 10883.9983 | 27269.4027 | 0 | 1066.9749 | 14370.8449 | 11831.5828 | 0 | 27269.4027 | 0 | 2484.8398 | 11884.0315 | 9260.9874 | 3639.544 | 27269.4027 |  | Column N,T, Z & AF should all be equal | 0 | Column N,T, Z & AF should all be equal | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1
6 | Load received by STWs above size band 5 |  | kg BOD5/day | 0 | 0 | 55597.1224 | 1816.4548 | 0 | 43451.602 | 0 | 26890.4852 | 127755.6644 | 0 | 14144.0785 | 12347.9167 | 101263.6691 | 127755.6644 | 0 | 0 | 45490.996 | 82264.6684 | 0 | 127755.6644 | 0 | 8375.3313 | 49088.8306 | 7870.1176 | 62421.3849 | 127755.6644 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
7 | Total load received |  | kg BOD5/day | 0 | 10.2623 | 61352.3315 | 13646.7542 | 2597.3951 | 53917.6742 | 6294.4205 | 44515.2397 | 182334.0774 | 2456.0072 | 24052.5899 | 22007.828 | 133817.6523 | 182334.0775 | 0 | 2031.3409 | 72698.2017 | 107267.0599 | 337.475 | 182334.0774 | 0 | 11216.005 | 76639.2207 | 26824.2925 | 67654.5593 | 182334.0775 | Sum of lines 1 to 6. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
8 | Load received from trade effluent customers at treatment works |  | kg BOD5/day | 0 | [7 empty] | 12477.24 | [18 empty] | Entries are not expected to be greater than 23% greater than the total load received |  | 0 | [57 empty] | 0
H1 | Number of sewage treatment works at 31 March 2018
9 | STWs in size band 1 |  | nr | 0 | 21 | 27 | 96 | 4 | 2 | 11 | 1 | 162 | 0 | 0 | 0 | 162 | 162 | 0 | 0 | 20 | 28 | 114 | 162 | 0 | 0 | 10 | 23 | 129 | 162 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
10 | STWs in size band 2 |  | nr | 0 | 0 | 0 | 21 | 1 | 0 | 6 | 2 | 30 | 0 | 0 | 1 | 29 | 30 | 0 | 0 | 10 | 20 | 0 | 30 | 0 | 0 | 15 | 14 | 1 | 30 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
11 | STWs in size band 3 |  | nr | 0 | 0 | 7 | 47 | 2 | 1 | 27 | 13 | 97 | 0 | 5 | 2 | 90 | 97 | 0 | 3 | 51 | 43 | 0 | 97 | 0 | 4 | 46 | 44 | 3 | 97 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
12 | STWs in size band 4 |  | nr | 0 | 0 | 8 | 22 | 1 | 5 | 13 | 13 | 62 | 1 | 10 | 2 | 49 | 62 | 0 | 2 | 28 | 32 | 0 | 62 | 0 | 0 | 39 | 20 | 3 | 62 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
13 | STWs in size band 5 |  | nr | 0 | 0 | 2 | 3 | 2 | 7 | 0 | 13 | 27 | 2 | 6 | 9 | 10 | 27 | 0 | 1 | 14 | 12 | 0 | 27 | 0 | 2 | 13 | 9 | 3 | 27 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
14 | STWs above size band 5 |  | nr | 0 | 0 | 4 | 1 | 0 | 9 | 0 | 9 | 23 | 0 | 4 | 5 | 14 | 23 | 0 | 0 | 12 | 11 | 0 | 23 | 0 | 3 | 12 | 2 | 6 | 23 |  | Column N,T, Z & AF should all be equal | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
15 | Total number of works |  | nr | 0 | 21 | 48 | 190 | 10 | 24 | 57 | 51 | 401 | 3 | 25 | 19 | 354 | 401 | 0 | 6 | 135 | 146 | 114 | 401 | 0 | 9 | 135 | 112 | 145 | 401 | Sum of lines 9 to 14. | Column N,T, Z & AF should all be equal |  | 0 | [57 empty] | 0
Line description |  | Item reference | Unit | DPs | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
I | Population equivalent
16 | Current population equivalent served by STWs | BN1603 | 000 | 3 | 3130.477 | 3171.5049 | 3196.1412 | 3212.5374 | 3232.2783 | 3248.8458 | 3261.0349 | 3273.2411 | [18 empty] | Entry in cells is expected to be more than the total trade effluent load/0.06 plus the resident population | 0 | Unexpectedly low value given the resident population reported in Table WWS3 and the trade effluent load. | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Unexpectedly low value given the resident population reported in Table WWS3 and the trade effluent load.
17 | Current population equivalent served by discharge relocation schemes | S4019 | 000s | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | Entry should be consistent with capex reported in Table WWS2 | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Current population equivalent served by filter bed STWs with tightened/new P consents | S4020 | 000s | 3 | 37.9033 | 89.2921 | 40.6548 | 32.4684 | 139.4031 | 137.1302 | 59.5028 | 32.002 | [18 empty] | Entry should be consistent with capex reported in Table WWS2 | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Current population equivalent served by activated sludge STWs with tightened/new P consents | S4018 | 000s | 3 | 0 | 95.1176 | 0 | 0 | 51.0372 | 27.3147 | 167.4118 | 262.3402 | [18 empty] | Entry should be consistent with capex reported in Table WWS2 | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Current population equivalent served by groundwater protection schemes | S4021 | 000s | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | Entry should be consistent with capex reported in Table WWS2 | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Current population equivalent served by STWs with a Flow1 driver scheme | S4022 | 000s | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | Entry should be consistent with capex reported in Table WWS2 | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Current population equivalent served by STWs with tightened/new N consents | S4023 | 000s | 3 | 0 | 0 | 0 | 11.5505 | 0 | 0 | 0 | 0 | [18 empty] | Entry should be consistent with capex reported in Table WWS2 | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Current population equivalent served by STWs with tightened/new sanitary parameter consents | S4024 | 000s | 3 | 57.9578 | 0 | 40.6378 | 39.1066 | 25.5227 | 0 | 76.0116 | 34.8157 | [18 empty] | Entry should be consistent with capex reported in Table WWS2 | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Current population equivalent served by STWs with tightened/new UV consents | S4025 | 000s | 3 | 3.8682 | 0 | 0 | 50.8509 | 0 | 0 | 0 | 0 | [18 empty] | Entry should be consistent with capex reported in Table WWS2 | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | Population equivalent treatment capacity enhancement | S4027 | 000s | 3 | 11.446 | 15.477 | 44.762 | 8.86 | 2.827 | 29.182 | 10.762 | 87.084 | [19 empty] | 0 | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KEY
| Input | [83 empty] | 26
Copy
Calculation
Pre populated
WWn4 guidance and line definitions
This table identifies wholesale wastewater sewage treatment explanatory variables and reflects table 14 of the 2017 Cost Assessment submission.
Additional information
The following definitions are intended to agree (where they overlap) with those used in the Urban Waste Water Treatment Directive, eg. primary treatment requires the removal of at least 50% of suspended solids from the sewage entering the works and a reduction of at least 20% in BOD. Innovative processes eg Nereda, are to be classified according to equivalence of effluent quality.
| Primary sewage treatment works | Treatment methods are restricted to primary treatment (screening, comminution, maceration, grit and detritus removal, pre-aeration and grease removal, storm tanks, plus primary sedimentation, including where assisted by the addition of chemicals e.g. Clariflow).
| Secondary activated works | Sewage treatment works providing secondary activated sludge treatment methods whose treatment methods include those for primary works plus works whose treatment methods include activated sludge (including diffused air aeration, coarse bubble aeration, mechanical aeration, oxygen injection, submerged filters) and other equivalent techniques including deep shaft process, extended aeration (single, double and triple ditches) and biological aerated filters as secondary treatment.
| Secondary biological works | Sewage treatment works providing secondary biological treatment methods whose treatment methods include those for primary works plus works whose treatment methods include rotating biological contractors and biological filtration (including conventional filtration, high rate filtration, alternating double filtration and double filtration, root zone treatment (where used as a secondary treatment stage).
| Tertiary activated works | A1 - Works with a secondary activated sludge process whose treatment methods also include prolonged settlement in conventional lagoons or raft lagoons, irrigation over grassland, constructed wetlands, root zone treatment (where used as a tertiary stage), drum filters, microstrainers, slow sand filters, tertiary nitrifying filters, wedge wire clarifiers or Clariflow installed in humus tanks, where used as a tertiary treatment stage. A2 - Works with a secondary activated sludge process whose treatment methods also include rapid-gravity sand filters, moving bed filters, pressure filters, nutrient removal control using physico-chemical and biological methods, disinfection, hard COD and colour removal, where used a s a tertiary treatment stage.
| Tertiary biological works | B1 - Works with a secondary stage biological process whose treatment methods also include prolonged settlement in conventional lagoons or raft lagoons, irrigation over grassland, constructed wetlands, root zone treatment (where used as a tertiary stage), drum filters, microstrainers, slow sand filters, tertiary nitrifying filters, wedge wire clarifiers or Clariflow installed in humus tanks, where used as a tertiary treatment stage. B2 - Works with a secondary biological process whose treatment methods also include rapid-gravity sand filters, moving bed filters, pressure filters, nutrient removal control using physico-chemical and biological methods, disinfection, hard COD and colour removal, where used as a tertiary treatment stage.
| Load received by STWs in size band 1 | The average daily load received (in kg of BOD5/day) by STWs of size band 1 (<= 15kg BOD5/day) for each treatment category. The convention outlined under the common definitions should be used to calculate the load for each STW. Companies must classify the size band of a works using resident population only. Companies must include non-resident population when reporting loads.
| Load received by STWs in size band 2 | The average daily load received (in kg of BOD5/day) by STWs of size band 2 (15 - 30kg BOD5/day) for each treatment category. The convention outlined under the common definitions should be used to calculate the load for each STW. Companies must classify the size band of a works using resident population only. Companies must include non-resident population when reporting loads.
| Load received by STWs in size band 3 | The average daily load received (in kg of BOD5/day) by STWs of size band 3 (30 - 120kg BOD5/day) for each treatment category. The convention outlined under the common definitions should be used to calculate the load for each STW. Companies must classify the size band of a works using resident population only. Companies must include non-resident population when reporting loads.
| Load received by STWs in size band 4 | The average daily load received (in kg of BOD5/day) by STWs of size band 4 (120 - 600kg BOD5/day) for each treatment category. The convention outlined under the common definitions should be used to calculate the load for each STW. Companies must classify the size band of a works using resident population only. Companies must include non-resident population when reporting loads.
| Load received by STWs in size band 5 | The average daily load received (in kg of BOD5/day) by STWs of size band 5 (600 - 1500kg BOD5/day) for each treatment category. The convention outlined under the common definitions should be used to calculate the load for each STW. Companies must classify the size band of a works using resident population only. Companies must include non-resident population when reporting loads.
| Load received by STWs above size band 5 | The average daily load received (in kg of BOD5/day) by STWs above size band 5 (>1500kg BOD5/day) for each treatment category. The convention outlined under the common definitions should be used to calculate the load for each STW. Companies must classify the size band of a works using resident population only. Companies must include non-resident population when reporting loads.
Line | Definition
Blocks A to H Load received at sewage treatment works
1 | Average daily pollution loads in kg BOD5 received by sewage treatment works of size band 1. (See additional guidance)
2 | Average daily pollution loads in kg BOD5 received by sewage treatment works of size band 2. (See additional guidance)
3 | Average daily pollution loads in kg BOD5 received by sewage treatment works of size band 3. (See additional guidance)
4 | Average daily pollution loads in kg BOD5 received by sewage treatment works of size band 4. (See additional guidance)
5 | Average daily pollution loads in kg BOD5 received by sewage treatment works of size band 5. (See additional guidance)
6 | Average daily pollution loads in kg BOD5 received by sewage treatment works above size band 5. (See additional guidance). The reported values in WWn4 line 6 should agree with those reported in WWn2 line 9.
7 | Average daily pollution loads in kg BOD5 received by sewage treatment works of all sizes. Calculated as sum of the six preceding lines.
8 | Average daily pollution load in kg BOD5 received by sewage treatment works of all sizes from trade effluent customers.
Blocks A1 to H1 Number of sewage treatment works
9 | Number of sewage treatment works of size band 1. (See additional guidance)
10 | Number of sewage treatment works of size band 2. (See additional guidance)
11 | Number of sewage treatment works of size band 3. (See additional guidance)
12 | Number of sewage treatment works of size band 4. (See additional guidance)
13 | Number of sewage treatment works of size band 5. (See additional guidance)
14 | Number of sewage treatment works of size band above size band 5. (See additional guidance)
15 | Total number of sewage treatment works of all sizes. Calculated as sum of the six preceding lines.
Block I Population Equivalent
16 | Population equivalent (resident) connected to sewage treatment works. Equivalent population should be calculated on the basis of 60g BOD5 per capita per day. Imported effluents should be included in calculation. No account should be taken of holiday population.
17 | Population equivalent served by schemes to relocate the discharge to receiving waters, delivered in the report year and for which capital costs are reported in WWS2 line 22. Exclude population equivalent served where the output has primarily been met through opex rather than capex solutions.
18 | Population equivalent served by biological filter STWs at which there are new or tightened consent conditions for phosphorus, delivered in the report year and for which capital costs are reported in WWS2 line 19. Exclude population equivalent served where the output has primarily been met through opex rather than capex solutions.
19 | Population equivalent served by activated sludge STWs at which there are new or tightened consent conditions for phosphorus, delivered in the report year and for which capital costs are reported in WWS2 line 18. Exclude population equivalent served where the output has primarily been met through opex rather than capex solutions.
20 | Population equivalent served by schemes to deliver improvements driven by the EU Groundwater Directive, delivered in the report. and for which capital costs are reported in WWS2 line 15. Exclude population equivalent served where the output has primarily been met through opex rather than capex solutions.
21 | Current population equivalent served by STWs with a Flow1 driver code, delivered in the report and for which capital costs are reported in WWS2 line 23. Exclude population equivalent served where the output has primarily been met through opex rather than capex solutions.
22 | Population equivalent served by STWs at which there are new or tightened consent conditions for nitrogen, delivered in the report and for which capital costs are reported in WWS2 line 17. Exclude population equivalent served where the output has primarily been met through opex rather than capex solutions.
23 | Population equivalent served by STWs at which there are new or tightened consent conditions for one or more sanitary parameters, delivered in the report year and for which capital costs are reported in WWS2 line 20. Exclude population equivalent served where the output has primarily been met through opex rather than capex solutions.
24 | Population equivalent served by STWs at which there are new or tightened consent conditions for microbiological parameters to meet the requirements of the EU Shellfish Waters or revised Bathing Water Directives, delivered in the report year and for which capital costs are reported in WWS2 line 21. Exclude population equivalent served where the output has primarily been met through opex rather than capex solutions.
25 | The increase in treatment capacity, from company action, measured in population equivalent. The increase must be measured from the previous year’s capacity of existing sewage treatment works and the previous capacity at each works must be the higher of the then current design capacity or the company's revised understanding of actual capacity before the company’s action.