## Bio1
Bio1 - Wholesale wastewater sludge (explanatory variables) | [16 empty] | Wessex Water | Data validation
[22 empty] | Completion checks | [12 empty] | Validation checks
Line description |  | Item reference | Unit | DPs | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | Calculation, copy or download rule | Validation description | Completion | Validation | Please complete all cells in row
1 | Total sewage sludge produced, treated by incumbents | BP05613 | ttds/ year | 1 | 74.87 | 70.056 | 70.7995 | 71.1454 | 71.7848 | 72.2597 | 73.1182 | 74.4782 | 75.5157 | 75.8178 | 76.1211 | 76.4256 | 76.7313 |  | Inputs must be less than 1000 ttds /year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Total sewage sludge produced, treated by 3rd party sludge service provider | MP05614 | ttds/ year | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Inputs must be less than 1000 ttds /year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Total sewage sludge produced | MP05611 | ttds/ year | 1 | 74.87 | 70.056 | 70.7995 | 71.1454 | 71.7848 | 72.2597 | 73.1182 | 74.4782 | 75.5157 | 75.8178 | 76.1211 | 76.4256 | 76.7313 | Sum of lines 1 and 2.
4 | Total sewage sludge produced from non-appointed liquid waste treatment | MP05617 | ttds/ year | 1 | 2.6773 | 3.3179 | 2.832 | 2.8458 | 2.8714 | 2.8904 | 2.9247 | 2.9791 | 3.0206 | 3.0327 | 3.0448 | 3.057 | 3.0693 |  | Inputs must be less than the total sludge produced (line 3), and be a positive number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Percentage of sludge produced and treated at a site of STW and STC co-location | MP05615 | % | 1 | 48.81% | 51.7% | 51.97% | 51.93% | 51.79% | 51.67% | 51.26% | 50.53% | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Total sewage sludge disposed by incumbents | BN1623 | ttds/ year | 1 | 54.2286 | 52.443 | 52.3735 | 46.4316 | 46.8489 | 47.1588 | 47.7191 | 48.6066 | [6 empty] | Inputs must be less than 1000 ttds /year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Total sewage sludge disposed by 3rd party sludge service provider | BN1622 | ttds/ year | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | Inputs must be less than 1000 ttds /year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Total sewage sludge disposed | BN1621 | ttds/ year | 1 | 54.2286 | 52.443 | 52.3735 | 46.4316 | 46.8489 | 47.1588 | 47.7191 | 48.6066 | [5 empty] | Sum of lines 6 and 7.
9 | Total measure of intersiting 'work' done by pipeline | BN1640 | ttds*km/year | 0 | 11.9485 | 12.6483 | 12.4846 | 12.5456 | 12.6583 | 12.7421 | 12.8935 | 13.1333 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Total measure of intersiting 'work' done by tanker | BN1641 | ttds*km/year | 0 | 877.5312 | 727.4344 | 826.3388 | 830.376 | 837.8386 | 843.3806 | 853.4016 | 869.2738 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Total measure of intersiting 'work' done by truck | BN1642 | ttds*km/year | 0 | 0 | 0 | 14.6782 | 59.5072 | 60.042 | 60.4392 | 61.1573 | 62.2947 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Total measure of intersiting 'work' done (all forms of transportation) | BN1643 | ttds*km/year | 0 | 889.4797 | 740.0827 | 853.5016 | 902.4287 | 910.5389 | 916.5618 | 927.4523 | 944.7018 | [5 empty] | Sum of lines 9 to 11.
13 | Total measure of intersiting 'work' done by tanker (by volume transported) | BN1644 | m3*km/year | 0 | 21333034.027 | 19992212.7472 | 20522917.9629 | 20623185.2827 | 20808527.5003 | 20946168.8048 | 21195049.0909 | 21589251.3425 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Total measure of 'work' done in sludge disposal operations by pipeline | BN1648 | ttds*km/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Total measure of 'work' done in sludge disposal operations by tanker | BN1645 | ttds*km/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Total measure of 'work' done in sludge disposal operations by truck | BN1646 | ttds*km/year | 0 | 3349 | 3171.244 | 2867.0548 | 2739.0042 | 2763.6198 | 2781.9002 | 2814.9545 | 2867.3092 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Total measure of 'work' done in sludge disposal operations (all forms of transportation) | BN1647 | ttds*km/year | 0 | 3349 | 3171.244 | 2867.0548 | 2739.0042 | 2763.6198 | 2781.9002 | 2814.9545 | 2867.3092 | [5 empty] | Sum of lines 14 to 16.
18 | Total measure of 'work' done by tanker in sludge disposal operations (by volume transported) | BN1649 | m3*km/year | 0 | 11767891 | 12105643.4 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Chemical P sludge as percentage of sludge produced at STWs | MP05616 | % | 1 | 28.11% | 30.54% | 30.45% | 30.51% | 32.25% | 32.9% | 36.22% | 43.92% | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KEY
Input
| Copy | [33 empty] | 0
Calculation
Pre populated
Bio1 guidance and line definitions
This table identifies wholesale waste water sludge explanatory variables and reflects table 15 of the 2017 Cost Assessment submission. For the purposes of reporting quantities of sludge produced (lines 1 to 3), this is measured ideally at the boundary between the Network plus and Bioresources business units as defined in RAG 4.07 or if not, at the point of treatment. There should be continuous measurement via instrumentation rather than by composite or spot sampling. Where both the incumbent and a 3rd party service provider undertake different stages of sludge treatment eg dewatering followed by lime stabilisation, sludge quantities should not be doubled-counted and should be reported either in line 1 or line 2, not both. Where this situation occurs the company should report on the quantity involved and the line to which it has been allocated in the commentary. The values returned in line 3 will be what we use as the volume measure for the bioresources average revenue control. Accordingly, while they are calculated as the sum of the values in lines 1 and 2, for the avoidance of doubt these values should be consistent with the definition for total sludge produced set down in Information notice IN 17/04, repeated here for convenience: Sludge production in tonnes dry solids for the PR19 average revenue control: • is a measure of untreated sludge (primary, secondary and tertiary) produced by in-area wastewater treatment processes in a year; • does not include the grit and screenings removed through preliminary wastewater treatment processes; and • is measured preferably at the boundary between network plus and bioresources as defined in RAG 4.07, or if not at the point of treatment. There should be continuous measurement via instrumentation rather than by composite or spot sampling. For the purposes of reporting against lines 6 and 7, sludge disposal operations for sludge recycled to farmland are assumed to end upon arrival at the field. Accordingly, no account need be taken of changes in the quantity of sludge stored in field piles when completing these lines. The table asks for projections total sewage sludge produced for the 2025-30 (AMP8) period. This information is required to help us assess long-term affordability through the expected change in bills after 2025 and the impact of the companies’ proposals for both current and future customers.
Line | Definition
1 | This is a measure of all the untreated sewage sludge (primary, secondary, tertiary) produced by in-area wastewater treatment processes in the report year which is either treated by the incumbent or remains untreated prior to disposal. Grit and screenings removed through preliminary treatment processes should be excluded. Cross-border imports should be excluded. Sludge treated by managed contractors should be included; sludge treated by separate 3rd party service providers should be reported in Bio1 line 2.
2 | This is a measure of all the untreated sewage sludge (primary, secondary, tertiary) produced by in-area wastewater treatment processes in the report year which is treated by a 3rd party sludge service provider. Grit and screenings removed through preliminary treatment processes should be excluded. Cross-border imports should be excluded. Sludge treated by managed contractors (as opposed to separate 3rd party service providers) should be excluded; instead it should be reported in Bio1 line 1.
3 | Calculated as the sum of Bio1 lines 1 and 2.
4 | This is an estimate of all the untreated sewage sludge (primary, secondary, tertiary) produced by in-area wastewater treatment processes in the report year, and which is produced as a result of treating non-appointed liquid wastes through appointed wastewater treatment assets. Because this sludge is generated at in-area wastewater treatment sites we expect this quantity to be included in the total given in line 3 above. We expect companies to explain the basis of this estimate in their commentary.
5 | The percentage of the sludge quantity reported in line 3 that is produced at co-located sites. For the purposes of this definition: i) "co-located" includes sites where the STC is physically separate but the sludge is transferred from a wastewater treatment site by pipeline, and ii) STC means any site where thickening to >10%DS, and/or dewatering and or microbial reduction (eg digestion, lime stabilisation etc) is undertaken.
6 | The total amount of sewage sludge treated and disposed of during the report year by the incumbent expressed in thousands of tonnes of dry solids of sludge disposed by the whole service. This should include recycling to farmland (irrespective of whether spreading is undertaken by the 3rd party service provider or the farmer) and disposal to landfill, incineration, land restoration/ reclamation, composting and other routes. This will be different from sewage sludge produced due to: - quantities of lime used in lime treated sludge, - losses of volatile solids in the treatment process, and - changes in the amount of sludge stockpiled at sludge treatment centres. Sludge disposed of by managed contractors should be included; sludge disposed of by separate 3rd party service providers should be reported in line 6.
7 | The total amount of sewage sludge treated and disposed of during the report year by a 3rd party sludge service provider expressed in thousands of tonnes of dry solids of sludge produced by the whole service. This should include recycling to farmland (irrespective of whether spreading is undertaken by the 3rd party service provider or the farmer) and disposal to landfill, incineration, land restoration/ reclamation, composting and other routes.. This may be different from sewage sludge produced due to: - quantities of lime used in lime treated sludge, - losses of volatile solids in the treatment process, and - changes in the amount of sludge stockpiled at sludge treatment centres. Sludge disposed of by managed contractors (as opposed to separate 3rd party service providers) should be excluded; instead it should be reported in line 5.
8 | Calculated as the sum of Bio1 lines 6 and 7.
9 | Total work done in intersiting sludge operations by pipeline during the report year measured as the product of sludge mass (in ttds) multiplied by distance conveyed (in km). Based on actual length of pipeline from sludge holding tanks to STC, not straight line distance. This measure should not include sludge transported between STWs via a gravity sewer, the operating costs of which are allocated to Network+. For the purposes of this line, ‘intersiting’ means the conveyance of sludge between physically separate sites that are connected by a sludge rising main. (km1*tds1)+(km2*tds2)+…...(kmN*tdsN)
10 | Total work done in intersiting sludge operations carried out by road tanker during the report year measured as the product of sludge mass (in ttds) multiplied by distance travelled (in km) in transporting the sludge. Based on actual distance travelled from sludge holding tanks to STC, not straight line distance. If actual road distances aren't available please estimate this road distance and state in comments if this is the case. Work done by other forms of transport of liquid sludge (eg tractors) should be included in this line. This measure should exclude the distance travelled by vehicles to the sewage treatment works to collect the sludge. No account should be taken of distance travelled by empty tankers. (km1*tds1)+(km2*tds2)+…...(kmN*tdsN)
11 | Total work done in intersiting sludge operations carried out by truck during the report year measured as the product of sludge mass (in ttds) multiplied by distance travelled (in km) in transporting the sludge. Based on actual distance travelled from sludge holding tanks to STC, not straight line distance. If actual road distances aren't available please estimate this road distance and state in comments if this is the case. This measure should exclude the distance travelled by vehicles to the sewage treatment works to collect the sludge. No account should be taken of distance travelled by empty trucks. (km1*tds1)+(km2*tds2)+…...(kmN*tdsN)
12 | Calculated as the sum of Bio1 lines 9, 10 and 11.
13 | Total work done in intersiting sludge operations carried out by road tanker during the report year measured as the product of sludge volume (in m3) multiplied by distance travelled (in km) in transporting the sludge. Based on actual distance travelled from sludge holding tanks to STC, not straight line distance. If actual road distances aren't available please estimate this road distance and state in commentary if this is the case. Work done by other forms of transport of liquid sludge (eg tractors) should be included in this line. This measure should exclude the distance travelled by vehicles to the sewage treatment works to collect the sludge. No account should be taken of distance travelled by empty tankers. (km1*m31)+(km2*m32)+…...(kmN*m3N)
14 | Total work done in sludge disposal operations carried out by pipeline (eg transport to an incinerator) during the report year measured as the product of sludge mass (in ttds) multiplied by distance travelled (in km). Based on actual distance travelled from the STC to the landbank, landfill site, land reclamation site or incinerator as appropriate, not straight line distance. (km1*tds1)+(km2*tds2)+…...(kmN*tdsN)
15 | Total work done in sludge disposal operations carried out by road tanker during the report year measured as the product of sludge mass (in ttds) multiplied by distance travelled (in km) in transporting the sludge. Based on actual distance travelled from the STC to the landbank, landfill site or land reclamation site as appropriate, not straight line distance. If actual road distances aren't available please estimate this road distance and state in comments if this is the case. Work done by other forms of transport of liquid sludge (eg tractors) should be included in this line. No account should be taken of distance travelled by empty tankers. (km1*tds1)+(km2*tds2)+…...(kmN*tdsN)
16 | Total work done in sludge disposal operations carried out by truck during the report year measured as the product of sludge mass (in ttds) multiplied by distance travelled (in km) in transporting the sludge. Based on actual distance travelled from the STC to the landbank, landfill site or land reclamation site as appropriate, not straight line distance. If actual road distances aren't available please estimate this road distance and state in comments if this is the case. No account should be taken of distance travelled by empty trucks. (km1*tds1)+(km2*tds2)+…...(kmN*tdsN)
17 | Calculated as the sum of Bio1 lines 14 to 16.
18 | Total work done in sludge disposal operations carried out by road tanker during the report year measured as the product of sludge volume (in m3) multiplied by distance travelled (in km) in transporting the sludge. Based on actual distance travelled from the STC to the landbank, landfill site or land reclamation site as appropriate, not straight line distance. If actual road distances aren't available please estimate this road distance and state in comments if this is the case. Work done by other forms of transport of liquid sludge (eg tractors) should be included in this line. No account should be taken of distance travelled by empty tankers. (km1*m31)+(km2*m32)+…...(kmN*m3N)
19 | The total quantity of sludge produced at wastewater treatment works which use chemical dosing for phosphorous removal expressed as a percentage of total sludge produced at all in area wastewater treatment works (ie Bio1 line 3).